{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Cover sheet","Non-Chemical Hazard","New Chemical Hazard","Signature Sheet","WH&S hazard rating information","KEY"],"not_rendered":{"charts":0,"images":22,"macros":1,"external_links":1,"defined_names":19,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Cover sheet","index":0,"n_rows":58,"n_cols":12,"rows_kept":58,"cut":false,"hidden":false,"merged":[[45,2,45,5],[46,2,46,5],[47,2,47,5],[38,7,38,11],[39,7,39,11],[40,7,40,11],[41,7,41,11],[42,7,42,11],[43,7,43,11],[44,7,44,11],[45,7,45,11],[46,7,46,11],[47,7,47,11],[40,2,40,5],[41,2,41,5],[42,2,42,5],[44,2,44,5],[4,1,4,10],[2,1,2,8],[10,0,10,11],[38,2,38,5],[30,7,30,11],[31,2,31,5],[32,2,32,5],[33,2,33,5],[27,7,27,11],[29,7,29,11],[28,7,28,11],[34,7,34,11],[34,2,34,5],[37,2,37,5],[8,4,8,5],[54,0,55,0],[52,0,52,12],[35,2,35,5],[36,2,36,5],[48,11,48,12],[37,7,37,11],[36,7,36,11],[35,7,35,11],[54,5,54,7],[54,1,54,3],[51,5,51,7],[51,1,51,3],[49,5,49,7],[49,1,49,3],[39,2,39,5],[43,2,43,5],[33,7,33,11],[32,7,32,11],[31,7,31,11],[0,0,0,12],[28,2,28,5],[29,2,29,5],[30,2,30,5],[27,2,27,5]]}
["RSB Risk Assessment Tool"]
[]
["Short title:"]
[]
["Lab/Team:"]
[]
["SOP Number:",null,"STO and Compliance use only"]
[]
["Date created:",null,null,"Last Reviewed:"]
[]
["Summary of activity or procedure to be assessed (not required for a Single Chemical Risk Assessment):"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Other SOPs or SCRAs associated with this Risk Assessment:",null,null,null,null,null,null,"Hazards to be assessed:"]
[null,"Number","Name"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Name",null,null,null,"Signature",null,null,null,"Date",null,"Date for review*"]
["Author",null,null,null,null,null,null,null,null,null,null,{"$f":"DATE(YEAR(J50)+1,MONTH(J50),DAY(J50))","v":"1900-12-31"}]
[]
["Supervisor",null,null,null,null,null,null,null,null,"Approved"]
["(By signing this, I confirm that all the potential hazards have been identified and will be controlled appropriately, and all persons involved will have the necessary understanding, training and competency to conduct the procedure safely)"]
[]
["Radiation safety officer†",null,null,null,null,null,null,null,null,"Approved"]
[]
["* SOPs shall be reviewed every 12 months or whenever a procedure is changed, whichever occurs first."]
["† Only required if ionising or non-ionising radiation is involved"]

{"sheet":"Non-Chemical Hazard","index":1,"n_rows":207,"n_cols":11,"rows_kept":207,"cut":false,"hidden":true,"merged":[[21,4,21,6],[33,4,33,6],[34,0,34,11],[25,10,25,11],[24,10,24,11],[33,10,33,11],[33,7,33,9],[35,0,36,0],[53,1,54,1],[52,7,52,8],[51,7,51,8],[51,4,51,5],[54,4,54,7],[4,5,4,10],[30,1,30,3],[29,1,29,3],[28,1,28,3],[27,1,27,3],[26,1,26,3],[25,1,25,3],[24,1,24,3],[26,4,26,7],[25,4,25,7],[24,8,24,9],[30,4,30,7],[29,4,29,7],[20,0,20,1],[21,10,21,11],[21,7,21,9],[2,1,2,10],[30,10,30,11],[29,10,29,11],[28,10,28,11],[27,10,27,11],[26,10,26,11],[24,4,24,7],[30,8,30,9],[29,8,29,9],[28,8,28,9],[27,8,27,9],[26,8,26,9],[25,8,25,9],[28,4,28,7],[27,4,27,7],[4,1,4,2]]}
["Non-chemical Risk Assessment"]
[]
["Hazard:"]
[]
["Hazard type:","--Select--",null,null,"If Other:"]
[]
["Description:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Pre-control risk assessment"]
["Consequence:","--Select--",null,"Likelihood:","--Select--",null,null,"Inherent risk (score)†:",null,null,{"$f":"Haz_score(B22,E22)","v":""}]
[]
["Controls:"]
[null,"Control",null,null,"Control in place (CIP) or list Person responsible for implementation",null,null,null,"Implementation date*",null,"Review Effectiveness (Date)"]
["Elimination"]
["Substitutution"]
["Isolation"]
["Engineering"]
["Administrative"]
["PPE"]
["*Only required if control is not already in place"]
["Post-control risk assessment"]
["Consequence:","--Select--",null,"Likelihood:","--Select--",null,null,"Residual risk (score):",null,null,{"$f":"Haz_score(B34,E34)","v":""}]
["† If the inherent risk is LOW, nothing further is required other than to ensure all of the requirements of the relevant ANU safety procedures are followed."]
["Required Training:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"ANU OH&S Training course list"]
["PPE:","Lab coat:",null,"Gloves:","--Select--",null,null,"Covered shoes:"]
[null,"Safety Glasses:",null,"Goggles:",null,null,null,"Face Shield:"]
[null,"Respiratory: protection"]
[null,null,null,"type:"]
[]
[null,"Other:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["First aid/Emergency procedures:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"All Safety incidents and near misses must be reported"]
["Other considerations:"]
["Specific Storage/handling requirements:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Compliance - Registration and record keeping"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Health monitoring or surveillance required:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Specific spill clean-up requirements:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Waste disposal:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Other:"]

{"sheet":"New Chemical Hazard","index":2,"n_rows":246,"n_cols":11,"rows_kept":246,"cut":false,"hidden":true,"merged":[[65,10,65,11],[65,7,65,9],[65,4,65,6],[26,1,26,2],[26,6,26,8],[34,1,34,9],[27,1,27,2],[27,6,27,8],[28,1,28,2],[28,6,28,8],[29,1,29,2],[29,6,29,8],[30,1,30,2],[30,6,30,8],[31,1,31,2],[31,6,31,8],[3,1,3,10],[5,5,5,10],[13,3,13,4],[13,5,13,10],[15,3,16,6],[15,8,17,11],[18,6,18,7],[19,5,19,7],[21,2,21,4],[25,1,25,2],[25,6,25,8],[33,1,33,2],[35,1,35,3],[36,1,36,9],[37,1,37,9],[42,0,42,11],[43,1,43,3],[43,7,43,9],[51,0,51,1],[44,1,44,3],[44,7,44,9],[45,1,45,3],[45,7,45,9],[46,1,46,3],[46,7,46,9],[47,1,47,3],[47,7,47,9],[48,1,48,3],[48,7,48,9],[49,1,49,3],[52,2,52,3],[54,0,54,11],[56,1,56,3],[56,4,56,7],[56,8,56,9],[56,10,56,11],[52,10,52,11],[52,7,52,9],[52,4,52,6],[57,1,57,3],[57,4,57,7],[57,8,57,9],[57,10,57,11],[58,1,58,3],[58,4,58,7],[58,8,58,9],[58,10,58,11],[59,1,59,3],[59,4,59,7],[59,8,59,9],[59,10,59,11],[60,1,60,3],[60,4,60,7],[60,8,60,9],[60,10,60,11],[61,1,61,3],[61,4,61,7],[61,8,61,9],[61,10,61,11],[62,1,62,3],[62,4,62,7],[62,8,62,9],[62,10,62,11],[91,7,91,8],[92,1,93,1],[93,3,93,6],[65,2,65,3],[75,0,76,0],[90,4,90,5],[90,7,90,8]]}
["Chemical Hazard Assessment"]
[]
["Part 1. Description"]
["Chemical name"]
[]
["Description:"]
[]
[]
[]
[]
[]
[]
["Part 2. Chemical hazards"]
["CAS number:",null,null,"Storage location:"]
[]
["State:","--Select--",null,"Hazardous or regulated substance:",null,null,null,"--Select--","If not hazardous or a Dangerous Goods acording to the Vendor SDS, no Risk Assessment is required."]
[]
["Material Hazard(s):"]
[null,"Ionising radiation",null,null,null,null,"Chemical"]
[null,"Carcinogen",null,null,null,"Compressed Gas"]
[null,"Cryogenic",null,null,null,null,null,"Medicine or Poison schedule"]
[null,"Other:"]
[]
["Storage compatibility:",null,"DG Class:","--Select--"]
[]
[null,"Explosives (1)",null,{"$f":"chem_com(D24,2)","v":""},null,null,"Dangerous when wet (4.3)",null,null,{"$f":"chem_com(D24,9)","v":""}]
[null,"Flammable Gas (2.1)",null,{"$f":"chem_com(D24,3)","v":""},null,null,"Oxidising agent (5.1)",null,null,{"$f":"chem_com(D24,10)","v":""}]
[null,"Non-toxic, Non-flammable Gas (2.2)",null,{"$f":"chem_com(D24,4)","v":""},null,null,"Organic peroxide (5.2)",null,null,{"$f":"chem_com(D24,11)","v":""}]
[null,"Toxic Gas (2.3)",null,{"$f":"chem_com(D24,5)","v":""},null,null,"Toxic (6)",null,null,{"$f":"chem_com(D24,12)","v":""}]
[null,"Flammable Liquid (3)",null,{"$f":"chem_com(D24,6)","v":""},null,null,"Radioactive material (7)",null,null,{"$f":"chem_com(D24,13)","v":""}]
[null,"Flammable solid (4.1)",null,{"$f":"chem_com(D24,7)","v":""},null,null,"Corrosive (8)",null,null,{"$f":"chem_com(D24,14)","v":""}]
[null,"Spontaneously combustable (4.2)",null,{"$f":"chem_com(D24,8)","v":""},null,null,"Miscellaneous DG (9)",null,null,{"$f":"chem_com(D24,15)","v":""}]
[]
[null,"X - Not to be stored together."]
[null,"C - Caution and conditions apply, avoid storing together, consult SDSs for more information."]
[null,"Y - Compatible when stored correctly."]
[null,"- Safe storage and segregation requirments are defined in AS 2243.10 - Chemical storage."]
[null,"- See Precedence of Hazards table in the WH&S hazard rating information tab for situations where a chemical has more than one DG code."]
[]
[]
[]
[]
["GHS Classification: refer to Vendor SDS (section 2.1) - Only classifications deemed Hazardous (equal or less than the listed category value) need to be checked and the GHS value listed."]
[null,"Acute Toxicity - Oral (≤4)…………………",null,null,null,null,null,"Acute Toxicity - Dermal (≤4)…….."]
[null,"Acute Toxicity - Inhalation (≤4)………..",null,null,null,null,null,"Respiratory sensitiser (=1)……….."]
[null,"Skin sensitiser (=1)………………………….",null,null,null,null,null,"Mutagenicity (≤2)……………………."]
[null,"Carcinogenicity (≤2)…………………………",null,null,null,null,null,"Toxic to reproduction (≤2)……….."]
[null,"Aspiration hazards (=1)……………………",null,null,null,null,null,"Skin corrosion or irritation (≤2)…"]
[null,"Serious eye damage or eye irritation (≤2A)……………………………………………….",null,null,null,null,null,"Target organ toxicity - repeat exposure (≤2)……………………………"]
[null,"Target organ toxicity - single exposure (≤3)…………………………………."]
[]
["Pre-control risk assessment"]
["Consequence:","--Select--","Likelihood:",null,"--Select--",null,null,"Inherent risk (score)†:",null,null,{"$f":"Haz_score(B53,E53)","v":""}]
[]
["† If the inherent risk is LOW, nothing further is required other than to ensure all of the requirements of the relevant ANU safety procedures are followed. The sections below can be used to document these requirments."]
["Controls:"]
[null,"Control",null,null,"Control in place (CIP) or list Person responsible for implementation",null,null,null,"Implementation date*",null,"Review Effectiveness (Date)"]
["Elimination"]
["Substitution"]
["Isolation"]
["Engineering"]
["Administrative"]
["PPE"]
["*Only required if control is not already in place."]
["Post-control risk assessment"]
["Consequence:","--Select--","Likelihood:",null,"--Select--",null,null,"Residual risk (score):",null,null,{"$f":"Haz_score(B66,E66)","v":""}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Required Training:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"ANU OH&S Training course list"]
["PPE:","Lab coat:",null,"Gloves:","--Select--",null,null,"Covered shoes:"]
[null,"Safety Glasses:",null,"Goggles:",null,null,null,"Face Shield:"]
[null,"Respiratory: protection"]
[null,null,"type:"]
[]
[null,"Other:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["First aid/Emergency procedures:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"All Safety incidents and near misses must be reported"]
["Specific Storage/handling requirements:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Compliance - Registration and record keeping"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Health monitoring or surveillance required:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Specific spill clean-up requirements:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Waste disposal:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Other:"]

{"sheet":"Signature Sheet","index":3,"n_rows":5,"n_cols":9,"rows_kept":5,"cut":false,"hidden":false,"merged":[[15,1,15,4],[1,6,2,7],[5,1,5,4],[6,1,6,4],[7,1,7,4],[8,1,8,4],[9,1,9,4],[10,1,10,4],[11,1,11,4],[12,1,12,4],[13,1,13,4],[14,1,14,4],[27,1,27,4],[16,1,16,4],[17,1,17,4],[18,1,18,4],[19,1,19,4],[20,1,20,4],[21,1,21,4],[22,1,22,4],[23,1,23,4],[24,1,24,4],[25,1,25,4],[26,1,26,4],[39,1,39,4],[28,1,28,4],[29,1,29,4],[30,1,30,4],[31,1,31,4],[32,1,32,4],[33,1,33,4],[34,1,34,4],[35,1,35,4],[36,1,36,4],[37,1,37,4],[38,1,38,4],[46,1,46,4],[47,1,47,4],[48,1,48,4],[40,1,40,4],[41,1,41,4],[42,1,42,4],[43,1,43,4],[44,1,44,4],[45,1,45,4]]}
[]
[null,"Signature Sheet",null,null,null,null,"I have read the attached Risk Assessment and understand and agree to abide with the safety procedures described within."]
[]
[]
[null,"Name",null,null,null,null,"Signature",null,"Date"]

{"sheet":"WH&S hazard rating information","index":4,"n_rows":81,"n_cols":16,"rows_kept":81,"cut":false,"hidden":false,"merged":[[43,1,43,2],[43,3,43,5],[40,1,40,2],[40,3,40,5],[41,1,41,2],[41,3,41,5],[42,1,42,2],[42,3,42,5],[33,1,33,5],[36,0,36,1],[38,1,38,2],[38,3,38,5],[39,1,39,2],[39,3,39,5],[32,1,32,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[29,0,29,1],[30,1,30,5],[31,1,31,5],[9,0,9,1],[10,2,10,3],[10,4,10,5],[11,2,11,3],[12,2,12,3],[12,4,12,5],[6,2,6,5],[1,2,1,5],[2,2,2,5],[3,2,3,5],[4,2,4,5],[5,2,5,5]]}
["LIKELIHOOD"]
["RANKINGS","DESCRIPTION","PROBABILITY / FREQUENCY OF EVENT OCURRING"]
["ALMOST CERTAIN","The hazard is expected to occur in most circumstances.","Already a daily to weekly occurrence, >75%"]
["LIKELY","The hazard could occur in most circumstances.","between weekly to monthly occurrence 50 -75%"]
["POSSIBLE","The hazard has occurred at some time.","Between monthly to yearly occurrences 25  50%"]
["UNLIKELY","The hazard could occur at some time","Occurs in up to a 10 yearly cycle, up to 25%"]
["RARE","The hazard may only occur in exceptional circumstances","One in hundred year event, less than 1%"]
["Table provided by the ANU Work Environment Group"]
[]
["CONSEQUENCE"]
["RANKINGS","ILLNESS, INJURY OR DISEASE","PLANT EQUIPMENT AND MATERIALS (optional)",null,"ENVIRONMENT (optional)"]
[null,null,"**this may need to be reviewed against the working with chemicals criteria"]
["CATASTROPHIC","Fatality / Fatalities or permanent disability. Unable to work","Destroyed or can’t be reused",null,"Long term permanent effect to ecosystems. Significant intervention required to remediate "]
["MAJOR","Lost time injury – injuries where one or more days is lost from work ","Damage requiring repairs/rebuild and possible recertification prior to reuse, lost use for one or more days",null,"Notification to environmental agency, ecosystem will need time to recover, intervention required to remediate"]
["MODERATE","Medical treatment injury – can return to work at normal duties i.e.: treated by a health professional (Physio, Doctor, etc.)","Damage requiring a repair/service by a trade/technician within the day",null,"Contamination event that does not impact on ecosystem. Short impact doesn’t need intervention"]
["MINOR ","Injury needing first aid treatment, can return to work within shift. ","Equipment able to be reset or get back into operation by the operator",null,"Minor contained contamination ceasing when the short event is over, can remediate (e.g.: spill kit)"]
["INSIGNIFICANT ","Report only, no injury","Report only, no damage",null,"Report only, no contamination"]
["Table provided by the ANU Work Environment Group"]
[]
["HAZARD MATRIX"]
[null,"IMPACT/CONSEQUENCE"]
["LIKELIHOOD","INSIGNIFICANT","MINOR","MODERATE ","MAJOR","CATASTROPHIC"]
["ALMOST CERTAIN","MEDIUM (9)","HIGH (15)","HIGH (17)","EXTREME (22)","EXTREME (25)"]
["LIKELY","MEDIUM (7)","MEDIUM (10)","HIGH (16)","EXTREME (21)","EXTREME (24)"]
["POSSIBLE","LOW (4)","MEDIUM (8)","MEDIUM (12)","HIGH (18)","EXTREME (23)"]
["UNLIKELY","LOW (2)","LOW (5)","MEDIUM (11)","MEDIUM (14)","HIGH (20)"]
["RARE","LOW (1)","LOW (3)","LOW (6)","MEDIUM (13)","HIGH (19)"]
["Table provided by the ANU Work Environment Group"]
[]
["HAZARD APPROVERS"]
["LOW (<= 6)","No additional approval required beyond the completion of this risk assessment."]
["MEDIUM (7-14)","Work is able to proceed with the immediate leaders/managers/supervisors approval"]
["HIGH (15 - 20)","Work is only able to proceed after the relevant Dean, GM, Director (service division, research school or Administrtative) has reviewed the residual hazards with high scores and their controls"]
["EXTREME (>=21)","Work may not occur.  Vice Chancellor / University Council must be notified. Leaders/managers/supervisors and Senior Manager must reduce the level of exposure before work can recommence."]
["Table provided by the ANU Work Environment Group"]
[]
["HAZARD CONTROLS"]
["HIERARCHY","DESCRIPTION",null,"EXAMPLES"]
["Elimination","Complete removal of hazardous substance from the workplace.",null,"*  Removing trip hazards that clutter corridors. \n*  Disposing of unwanted chemicals. \n *  Removing hazardous plant or substances. \n *  Promptly repairing damaged equipment. \n *  Ceasing a dangerous work practice. \n *  Ensuring new equipment meets the ergonomic needs of users."]
["Substitution","Replace the existing substance or piece of equipment to provide a safer procedure or process.",null," *  Exchanging a hazardous substance or procedure for a less hazardous alternative. \n *  Using a safer technology, such as a spin colum extraction kit, or non-isotopic labeling\n *  Using a smaller container of hazardous material, rather than a larger one that requires decanting.\n *  Using a chemical in a safer form, for example prepored Acrylmide gels\n *  Using a camera attached to a UAV rather than climbing a tree."]
["Isolation","Changing work practice to physically separate the source of harm from the person by distance or barriers",null," *  Use of a fume cupboard or Biosafety Cabinet to segregate a procedure from the operator. \n *  Use of remote handling equipment for hazardous substances or procedures. \n *  Appropriate segregation of incompatible Chemicals."]
["Engineering","Modify the design of the workplace to reduce the level of risk from a hazard",null," *  Modification to plant/equipment. \n *  Installation of appropriate guarding on machinery. \n *  Use of a ventilation system to remove chemical fumes or dust. "]
["Administrative","Developing procedures and systems to control the interaction between people and hazards",null," *  Regular maintenance programs for plant and equipment; \n *  Written work procedures for all hazardous tasks and equipment; and \n *  Training, education and supervision programs for staff/students/contractors/ visitors, which may include preventative maintenance and housekeeping procedures. "]
["Personal Protective Equipment (PPE)","Implementing PPE to prevent physical contact between a person and a hazard",null," *  Handling of chemicals – gloves, lab coats, aprons, safety shields. \n *  Eye protection - Safety glasses/face shield for protection. \n *  Protecting feet – enclosed shoes. "]
["Table provided by the ANU Work Environment Group, adapted by RSB Compliance"]
[]
["Precedence of Hazard"]
["Class or division and Packing gorup",4.2,4.3,"5.1, I","5.1, II","5.1, III","6.1, I Dermal","6.1, I Oral ","6.1, II","6.1, III","8, I Liquid","8, I Solid","8, II Liquid","8, II Solid","8, III Liquid","8, III Solid"]
["3, Ia.",null,4.3,null,null,null,3,3,3,3,3,"-",3,"-",3,"-"]
["3, IIa.",null,4.3,null,null,null,3,3,3,3,8,"-",3,"-",3,"-"]
["3, IIIa.",null,4.3,null,null,null,6.1,6.1,6.1,"3b",8,"-",8,"-",3,"-"]
["4.1, IIa.",4.2,4.3,5.0999999999999996,4.0999999999999996,4.0999999999999996,6.1,6.1,4.0999999999999996,4.0999999999999996,"-",8,"-",4.0999999999999996,"-",4.0999999999999996]
["4.1, IIIa.",4.2,4.3,5.0999999999999996,4.0999999999999996,4.0999999999999996,6.1,6.1,6.1,4.0999999999999996,"-",8,"-",8,"-",4.0999999999999996]
["4.2, II",null,4.3,5.0999999999999996,4.2,4.2,6.1,6.1,4.2,4.2,8,8,4.2,4.2,4.2,4.2]
["4.2, III",null,4.3,5.0999999999999996,5.0999999999999996,4.2,6.1,6.1,6.1,4.2,8,8,8,8,4.2,4.2]
["4.3, I",null,null,5.0999999999999996,4.3,4.3,6.1,4.3,4.3,4.3,4.3,4.3,4.3,4.3,4.3,4.3]
["4.3, II",null,null,5.0999999999999996,4.3,4.3,6.1,4.3,4.3,4.3,8,8,4.3,4.3,4.3,4.3]
["4.3, III",null,null,5.0999999999999996,5.0999999999999996,4.3,6.1,6.1,6.1,4.3,8,8,8,8,4.3,4.3]
["5.1, I",null,null,null,null,null,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996]
["5.1, II",null,null,null,null,null,6.1,5.0999999999999996,5.0999999999999996,5.0999999999999996,8,8,5.0999999999999996,5.0999999999999996,5.0999999999999996,5.0999999999999996]
["5.1, III",null,null,null,null,null,6.1,6.1,6.1,5.0999999999999996,8,8,8,8,5.0999999999999996,5.0999999999999996]
["6.1, I Dermal",null,null,null,null,null,null,null,null,null,8,6.1,6.1,6.1,6.1,6.1]
["6.1, I Oral",null,null,null,null,null,null,null,null,null,8,6.1,6.1,6.1,6.1,6.1]
["6.1, II Inhalation",null,null,null,null,null,null,null,null,null,8,6.1,6.1,6.1,6.1,6.1]
["6.1, II Dermal",null,null,null,null,null,null,null,null,null,8,6.1,8,6.1,6.1,6.1]
["6.1, II Oral",null,null,null,null,null,null,null,null,null,8,8,8,6.1,6.1,6.1]
["6.1, III",null,null,null,null,null,null,null,null,null,8,8,8,8,8,8]
["Table notes:","a. Substances of Division 4.1 other than Self-reactive substances and solid desensitised explosives and substances of Class 3 other than liquid desensitised explosives"]
[null,"b. 6.1 for Pesticides"]
[null,"- Denotes an unachievable combination"]
[null,"Items of the following classes always take precedence:"]
[null,null,"Class 1 (Explosives)"]
[null,null,"Class 2 (Gasses)"]
[null,null,"Liquid desensitised explosives of Class 3"]
[null,null,"Self-reactive substances and solid desensitised explosives of Division 4.1"]
[null,null,"Pyrophoric substances of Division 4.2"]
[null,null,"Division 5.2 (Organic peroxide)"]
[null,null,"Division 6.1 with a packing group I inhalation toxicity"]
[null,null,"Sivision 6.2 (Infections substances)"]
[null,null,"Class 7 (Radioactive material)"]
[null,"Adapted from Table 2.0.3.3: Precedence of hazards, from the Australian Dangerous Goods Code, 2017, Edition 7.5"]

{"sheet":"KEY","index":5,"n_rows":63,"n_cols":17,"rows_kept":63,"cut":false,"hidden":true,"merged":[[0,2,0,6],[20,2,20,6]]}
[null,null,"CONSEQUENCE"]
[null,"LIKELIHOOD","INSIGNIFICANT","MINOR","MODERATE","MAJOR","CATASTROPHIC"]
[null,"ALMOST CERTAIN","MEDIUM (9)","HIGH (15)","HIGH (17)","EXTREME (22)","EXTREME (25)"]
[null,"LIKELY","MEDIUM (7)","MEDIUM (10)","HIGH (16)","EXTREME (21)","EXTREME (24)"]
[null,"POSSIBLE","LOW (4)","MEDIUM (8)","MEDIUM (12)","HIGH (18)","EXTREME (23)"]
[null,"UNLIKELY","LOW (2)","LOW (5)","MEDIUM (11)","MEDIUM (14)","HIGH (20)"]
[null,"RARE","LOW (1)","LOW (3)","LOW (6)","MEDIUM (13)","HIGH (19)"]
[]
[]
[null,"LIKELIHOOD","CONSEQUENCE","CONTROLS","RISK RATINGS","Hazard Class","Control rating"]
[null,"--Select--","--Select--",null,null,"--Select--"]
[null,"RARE","INSIGNIFICANT","YES","LOW","Gravitational ","Adequate"]
[null,"UNLIKELY","MINOR","NO","LOW","Body stressing or impact ","Partially adequate"]
[null,"POSSIBLE","MODERATE",null,"MEDIUM","Mechanical ","Inadequate"]
[null,"LIKELY","MAJOR",null,"HIGH","Source of energy "]
[null,"ALMOST CERTAIN","CATASTROPHIC",null,"EXTREME","Chemical and Biological "]
[null,null,null,null,null,"Psychosocial environment "]
[null,null,null,null,null,"Other"]
[]
[]
[null,null,"EFFECTIVENESS"]
[null,"APPLICATION","Very Good","Good","Fair","Poor","Not Controlled"]
[null,"Not Controlled","Partially adequate","Partially adequate","Inadequate","Inadequate","Inadequate"]
[null,"Poor","Adequate","Partially adequate","Partially adequate","Inadequate","Inadequate"]
[null,"Fair","Adequate","Adequate","Partially adequate","Inadequate","Inadequate"]
[null,"Good","Adequate","Adequate","Adequate","Partially adequate","Partially adequate"]
[null,"Very Good","Adequate","Adequate","Adequate","Partially adequate","Partially adequate"]
[]
[]
[]
[null,"Hazard_types","Glove_type","Chemical_hazard_type","State","Yes_No","DG classess"]
[null,"--Select--","--Select--","--Select--","--Select--","--Select--","--Select--"]
[null,"Chemical (Attach SCRA)","Latex","Ionising radiation","Solid","Yes","None"]
[null,"Biological","Nitrile","Chemical","Liquid","No",1]
[null,"Radiation","Vinyl","Restricted or prohibited carcinogen","Gas",null,2.1]
[null,"Electrical","Thermal","Compressed Gas",null,null,2.2000000000000002]
[null,"Physical",null,"Cryogenic",null,null,2.2999999999999998]
[null,"Mechanical",null,"Medicine or Poison",null,null,3]
[null,"Psychological",null,null,null,null,4.0999999999999996]
[null,"Ergonomic",null,null,null,null,4.2]
[null,"Environmental",null,null,null,null,4.3]
[null,"Confined spaces",null,null,null,null,5.0999999999999996]
[null,"Gravitational",null,null,null,null,5.2]
[null,"Flora/Fauna",null,null,null,null,6]
[null,"Compressed Gas",null,null,null,null,7]
[null,"Cryogenic",null,null,null,null,8]
[null,"Other",null,null,null,null,9]
[]
[null,"DG classification",null,1,2.1,2.2000000000000002,2.2999999999999998,3,4.0999999999999996,4.2,4.3,5.0999999999999996,5.2,6,7,8,9]
[null,null,1,"C","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[null,null,2.1,"X","Y","Y","C","C","X","X","X","X","X","X","X","X","Y"]
[null,null,2.2000000000000002,"X","Y","Y","Y","X","X","X","X","X","X","X","X","X","Y"]
[null,null,2.2999999999999998,"X","C","Y","Y","X","X","X","X","X","X","X","X","X","Y"]
[null,null,3,"X","C","X","X","Y","Y","X","X","X","X","C","X","X","Y"]
[null,null,4.0999999999999996,"X","X","X","X","Y","Y","X","Y","X","X","Y","X","X","Y"]
[null,null,4.2,"X","X","X","X","X","X","Y","Y","X","X","Y","X","X","Y"]
[null,null,4.3,"X","X","X","X","X","Y","Y","Y","X","X","X","X","X","Y"]
[null,null,5.0999999999999996,"X","X","X","X","X","X","X","X","Y","X","C","X","X","C"]
[null,null,5.2,"X","X","X","X","X","X","X","X","X","Y","C","X","X","C"]
[null,null,6,"X","X","X","X","C","Y","Y","X","C","C","Y","X","C","X"]
[null,null,7,"X","X","X","X","X","X","X","X","X","X","X","Y","X","X"]
[null,null,8,"X","X","X","X","X","X","X","X","X","X","C","X","Y","Y"]
[null,null,9,"X","Y","Y","Y","Y","Y","Y","Y","C","C","X","X","Y","Y"]